## Slide 1: The Google File System
Sanjay Ghemawat †, Howard Gobioff †, Shun-Tak Leung
† Google
SOSP’03
Yoona Kim, Geonhee Cho

## Slide 2: Contents
Introduction
Design Overview
Systems Interactions
Master Operation
Fault Tolerance and Diagnosis
Measurements
Experiences
Conclusions

## Slide 3: Introduction
They designed and implemented the Google File System(GFS) to meet
the rapidly growing demands of Google’s data processing needs.
  GFS shares many of the same goals as previous distributed file system.
  But its design had been driven by key observations of their application
workloads and technological environment.
Performance
Scalability
Reliability
Availability
Considering google-specific Workload & Environment ?

## Slide 4: Key Observations
Component failures are the norm rather than the exception.
Files are huge by traditional standards. Multi-GB files are common.
Most files are mutated by appending at the end.
  Random writes (and overwrites) are practically non-existent.
Co-designing the applications and the file system API
  It benefits the overall system by increasing our flexibility.
Huge Files
Component Failures
0101000100
Appending
File f
Interface Co-design
Application
File System

## Slide 5: Contents
Introduction
Design Overview
Systems Interactions
Master Operation
Fault Tolerance and Diagnosis
Measurements
Conclusions

## Slide 6: Assumptions
Operation environment of Google File System
① Inexpensive commodity components that often fail
② Few million ﬁles, typically 100MB or larger
Typical Workloads
③ Large streaming reads, small random reads
④ Sequential writes, append data
⑤ Multiple concurrent clients that append to the same ﬁle
⑥ High sustained bandwidth more important than low latency
Client
Client
Client
Client
Sequential
I/O Characteristics
⑥
High Bandwidth > Low Latency
Client
③ ④ ⑤
① Often Fail
②100 MB ~

## Slide 7: Overall GFS Architecture
A GFS cluster consists of ...
  Single GFS master (design simplification)
  Multiple GFS chunkservers
  Multiple GFS clients
GFS Master
GFS Chunkserver 𝜶
GFS Chunkserver 𝜷
GFS Chunkserver 𝜸
Application
nt
Application
GFS Clie
GFS Client
Application
GFS Client
 | A | pp | lication |  |  | 
 | GFS Client |  |  |  |  | 

## Slide 8: GFS File
GFS Files are divided into ﬁxed-size chunks (64MB)
Each chunk is identiﬁed by a globally unique “chunk handle” (64 bits)
GFS Master
GFS Chunkserver 𝜶
GFS Chunkserver 𝜷
GFS Chunkserver 𝜸
Application
nt
Application
GFS Clie
GFS Client
Application
GFS Client
A
pplication
GFS Client
File f

## Slide 9: GFS File (Cont.)
Chunkservers store chunks on local disks as Linux ﬁle
For reliability, each chunk is replicated on multiple chunkservers
  default is 3
GFS Master
GFS Chunkserver 𝜶
Application
nt
Application
GFS Clie
GFS Client
Application
GFS Client
A
pplication
GFS Client
File f
Replication Factor = 3
Chunk File
Chunk File
Chunk File
GFS Chunkserver 𝜷
Chunk File Chunk File
GFS Chunkserver 𝜸
Chunk File Chunk File Chunk File
Chunk File

## Slide 10: Architecture: GFS Master
2020 Fall D.S.
Maintains all ﬁle system metadata
Send periodically heartbeat messages with chunkservers
The system is designed to minimize the master’s involvement
  So it’s not a bottleneck
GFS Master
GFS Chunkserver 𝜶
GFS Chunkserver 𝜸
Application
nt
Application
GFS Clie
GFS Client
Application
GFS Client
A
pplication
GFS Client
Chunk File
Chunk File
Chunk File
GFS Chunkserver 𝜷
Chunk File Chunk File
Chunk File
File /foo/bar
/foo/bar

## Slide 11: Metadata on GFS Master
2020 Fall D.S.
3 types of metadata
  File and chunk namespaces (In-memory & Operation log)
  Mapping from ﬁles to chunks (In-memory & Operation log)
  Locations of each chunk’s replicas (In-memory)
All metadata is kept in GFS master’s memory (in-memory)
  Easy and efficient to do periodic scanning
    chunk garbage collection, re-replication (when chunkserver failure)
    chunk migration to balance load and disk space usage across chunkservers
Operation Log
  Only persistent record of metadata
  The logical timeline that deﬁnes the order of concurrent operations
  Master recovers its state by replaying the operation log

## Slide 12: Architecture: GFS Client
2020 Fall D.S.
Library code linked into each applications
Data flow is decoupled from control flow
  Data flow: Communicates with chunkservers for read/write operations
  Control flow: Communicates with GFS master for metadata operations
GFS Master
GFS Chunkserver 𝜶
GFS Chunkserver 𝜸
Application
nt
Application
GFS Clie
GFS Client
Application
GFS Client
A
pplication
GFS Client
Chunk File
Chunk File
Chunk File
GFS Chunkserver 𝜷
Chunk File Chunk File
Chunk File

## Slide 13: Read Interaction Example
GFS Master
GFS Chunkserver 𝜶
Application
nt
Application
GFS Clie
GFS Client
Application
GFS Client
A
pplication
GFS Client
Chunk File
Chunk File
Chunk File
GFS Chunkserver 𝜷
Chunk File Chunk File
GFS Chunkserver 𝜸
Chunk File Chunk File Chunk File
Chunk File
read (file name, byte offset)
❶ (file name, chunk index)
❷ (chunk handle, chunk location)
❸ (chunk handle, byte range)
❹ (Chunk data)
File Name | Chunk Id | Handle | Location
/foo/bar | a | b | c
... | ... | ... | ...
... | ... | ... | ...
Cache info.
Closest Chunkserver

## Slide 14: Contents
Introduction
Design Overview
Systems Interactions
Master Operation
Fault Tolerance and Diagnosis
Measurements
Conclusions

## Slide 15: Leases and Mutation Order
Each mutation (write or append) is performed at all the chunk’s replicas
Leases used to maintain a consistent mutation order across replicas
  Master grants a chunk lease to one of the replicas
    called primary replica
  The primary replica picks a serial order for all mutations to the chunk
  All replicas follow this order when applying mutations

## Slide 16: Atomic Record Appends
Client specify only the data
  GFS chooses the oﬀset
  concurrent atomic record appends are serializable
Mutation order is determined by the primary
  All secondaries use the same mutation order
GFS appends data to the file at least once as an atomically unit

## Slide 17: Snapshot Operation
Make a copy of a ﬁle or a directory tree almost instantaneously by using standard copy-on-write techniques
  Revoke any outstanding leases on the chunk to snapshot
  Logs the snapshot operation to disk and duplicates the metadata
  If the client wants to write, it creates a new chunk and tell secondary to do same

## Slide 18: Write Control and Data Flow
Application
GFS Client
GFS Master
GFS Chunkserv
er 𝜶
GFS Chunkserv
er 𝜷
GFS Chunkserv
er 𝜸
❶ Client asks master for all chunkservers (including all secondaries)
❷ Master grants a new lease on chunk, increases the chunk version number, tells all replicas to do the same.
Replies to client.
Client no longer has to talk to master
Primary Replica
Secondary Replica A
Secondary Replica B

## Slide 19: Write Control and Data Flow
Application
GFS Client
GFS Master
GFS Chunkserv
er 𝜶
GFS Chunkserv
er 𝜷
GFS Chunkserv
er 𝜸
❸ Client pushes data to all servers, not necessarily to primary first
Primary Replica
Secondary Replica A
Secondary Replica B
Decoupled Data Flow
Fully utilize each machine’s network bandwidth
Avoid network bottleneck and high-latency links
Minimize the latency by pipelining the data

## Slide 20: Write Control and Data Flow
Application
GFS Client
GFS Master
GFS Chunkserv
er 𝜶
GFS Chunkserv
er 𝜷
GFS Chunkserv
er 𝜸
Primary Replica
Secondary Replica A
Secondary Replica B
❹ Once data is acked, client sends
write request to primary.
Primary decides serialization order for all incoming modifications and applies them to the chunk

## Slide 21: Write Control and Data Flow
Application
GFS Client
GFS Master
GFS Chunkserv
er 𝜶
GFS Chunkserv
er 𝜷
GFS Chunkserv
er 𝜸
Primary Replica
Secondary Replica A
Secondary Replica B
❺ After finishing the modification, primary forwards write request and serialization order to secondaries, so they can apply modifications in ame order. (If primary fails, this step is never reached.)

## Slide 22: Write Control and Data Flow
Application
GFS Client
GFS Master
GFS Chunkserv
er 𝜶
GFS Chunkserv
er 𝜷
GFS Chunkserv
er 𝜸
Primary Replica
Secondary Replica A
Secondary Replica B
❻ All secondaries reply back to the primary once they
finish the modifications

## Slide 23: Write Control and Data Flow
Application
GFS Client
GFS Master
GFS Chunkserv
er 𝜶
GFS Chunkserv
er 𝜷
GFS Chunkserv
er 𝜸
❼ Primary replies back to the client, either with success or error
Primary Replica
Secondary Replica A
Secondary Replica B

## Slide 24: Contents
Introduction
Design Overview
Systems Interactions
Master Operation
Fault Tolerance and Diagnosis
Measurements
Conclusions

## Slide 25: Namespace Management and Locking
Allows multiple operations to be active
  And uses locks to ensure serialization
Namespace is represented as a lookup table
  mapping full pathnames to metadata
Each node has an associated read write lock and each master operation
acquires locks before it runs
Locks are acquired in a total order to prevent deadlock

## Slide 26: Namespace Locking Mechanism
Example Scenario
  prevent /home/user/foo from being created while /home/user is being snapshotted to /save/user
/home/user
/save/user
File A
File B
File C
foo
Snapshotting
Should not be created !
snapshot
𝐿𝑜𝑐𝑘𝑟𝑒𝑎𝑑: /home & /save
𝐿𝑜𝑐𝑘𝑤𝑟𝑖𝑡𝑒: /home/user & /save/user
Creation
𝐿𝑜𝑐𝑘𝑟𝑒𝑎𝑑: /home & /home/user
𝐿𝑜𝑐𝑘𝑤𝑟𝑖𝑡𝑒: /home/user/foo
Conflicting Lock !
∴Can be serializable

## Slide 27: Replicas Placement Policy
Application
GFS Client
GFS Master
GFS Chunkserv
er 𝜶
GFS Chunkserv
er 𝜷
GFS Chunkserv
er 𝜸
Primary Replica
Secondary Replica A
Secondary Replica B
GFS spreads chunk replicas across racks
  Maximize Data Reliability and Availability
    Ensures that some replicas will survive even if an entire rack is damaged
Maximize Network Bandwidth Utilization
  Exploit the aggregate bandwidth of multiple racks

## Slide 28: Chunk Creation
Places new replicas on chunkservers with below average disk space utilization
Application
GFS Client
GFS Master
GFS Chunkserv
er 𝜶
GFS Chunkserv
er 𝜷
GFS Chunkserv
er 𝜸
Primary Replica
Secondary Replica A
Secondary Replica B
GFS Chunkserv
Secondary Replica C
er 𝜸

## Slide 29: Re-replication
Re-replicates a chunk when the number of available replicas falls below a user specified goal (default is 3)
Application
GFS Client
GFS Master
GFS Chunkserv
er 𝜶
GFS Chunkserv
er 𝜷
GFS Chunkserv
er 𝜸
Primary Replica
Secondary Replica A
Secondary Replica B
Want Three Replicas
Chunk
Chunk
Chunk
3 Replicas
2 Replicas
3 Replicas
GFS Chunkserv
Secondary Replica C
er 𝜸

## Slide 30: Rebalancing
Rebalances replicas periodically for better disk space and load balancing
Application
GFS Client
GFS Master
GFS Chunkserv
er 𝜶
GFS Chunkserv
er 𝜷
GFS Chunkserv
er 𝜸
Primary Replica
Secondary Replica A
Secondary Replica B
GFS Chunkserv
Secondary Replica C
er 𝜸

## Slide 31: Garbage Collection
GFS reclaims the storage for deleted files lazily via garbage collection at the file and chunk levels
  File Level
    Master logs the deletion and renames the file to a hidden name that includes the
deletion timestamp
    Hidden files are removed if they have existed for more than 3 days
  Chunk Level
    Each chunkserver reports a subset of chunks it has, and master identifies and replies with orphaned chunks
    Each chunkserver deletes orphaned chunks

## Slide 32: Contents
Introduction
Design Overview
Systems Interactions
Master Operation
Fault Tolerance and Diagnosis
Measurements
Conclusions

## Slide 33: High availability
Fast Recovery
  Both the master and the chunkserver are designed to
restore their state and start in seconds
Chunk Replication
  Each chunk is replicated on multiple chunkservers on different racks
  Users can specify different replication levels
    default is 3
Master Replication
  The master state(operation log, checkpoint) is replicated on multiple machines
  One master process is in charge of all mutations and background activities
  Shadow masters provide read-only access to the file system when the primary master is down

## Slide 34: Data integrity
Each chunkserver uses checksumming to detect data corruption
  Each block has a corresponding 32bit checksum
Chunkserver verifies the checksum of data blocks for reads
During idle period, chunkservers scan and verify the inactive chunks
  when corruption is detected, the master create a new uncorrupted replica
and delete the corrupted replica

## Slide 35: Contents
Introduction
Design Overview
Systems Interactions
Master Operation
Fault Tolerance and Diagnosis
Measurements
Conclusions

## Slide 36: Micro-benchmarks
Experiment Environment
  Dual 1.4 GHz PIII processors, 2GB RAM, 2x80GB 5400 rpm disks, 100Mbps full- duplex Ethernet
1 Master & 2 Master Replicas
16 Chunkservers
16 Clients
GFS Master
16 Chunkservers GFS Chunkserver 𝜶 GFS Chunkserver 𝜷 |  | 
 | GFS Chunkserver 𝜸 | 
Application
nt
Application
GFS Clie
GFS Client
Application
GFS Client
16 Clients
Application GFS Client
GFS Master
1 Mater (+2 Replicas)
GFS Master

## Slide 37: Micro-benchmarks Results
READS
  Each client read a randomly selected 4MB region 256 times (Total 1 GB) from
a 320MB ﬁle
Writes
  Each client writes 1GB data to a new file in a series of 1MB writes
  Each write involves 3 different replicas
Record appends
  All clients append simultaneously to a single file
75-80% eﬃciency
50% eﬃciency
≈38% eﬃciency

## Slide 38: Real World Clusters
Experiment Environment
  Cluster A
    Used for research and development
    Reads MBs ~ TBs data and writes the results back
  Cluster B
    Used for research and development
    Reads MBs ~ TBs data and writes the results back

## Slide 39: Real World Clusters Results
Performance metrics for two GFS clusters
  Cluster B was in the middle of a burst write activity
  The read rates were much higher than the write rates
Recovery time
  Killed a single chunckserver of cluster B
    Which had 15K chunks containing 600GB data
  All chunks were restored in 23.3 minutes

## Slide 40: Contents
Introduction
Design Overview
Systems Interactions
Master Operation
Fault Tolerance and Diagnosis
Measurements
Conclusions

## Slide 41: Conclusions
GFS has successfully met their storage needs and is widely used within Google as the storage platform for research and development as well as production data processing.
While some design decisions are specific to their unique setting, many may apply to data processing tasks of a similar magnitude and cost consciousness.